## Sheet1
2x Fan Stacked | [6 empty] | 1x Fan
(1x fan will cause backflow for tapered profile due to lack of power, resulting in low airspeed)
| Width [cm] | Height [cm] | Airflow - Sides [m/s] | Airflow - Center [m/s] | Error [m/s]
Profile 1 | 14 | 14 | 2.3 | 0.6 | 0.1 |  |  | Width [cm] | Height [cm] | Airflow - Sides [m/s] | Airflow - Center [m/s] | Error [m/s]
Profile 2 | 14 | 5 | 2.9 | 0.7 | 0.1 |  | Profile 3 | 9 | 5 | 2.3 | 0.6 | 0.1
Profile 3 | 9 | 5 | 2.9 | 1.2 | 0.1 |  | Profile 3 [w/ Mesh] | 9 | 5 | 1.4 | 2.5 | 0.1
Profile 3 [w/ Mesh] | 9 | 5 | 2.4 | 2.5 | 0.1
Profile Selected | 3 [w/ mesh]
Experimental Setup |  |  | Profile 1 | (No taper) |  |  | Profile 2 | (~45deg height taper) |  |  | Profile 3 | (~45deg height taper && ~30deg width taper)
[5 empty] | Profile 3 w/ Mesh | (~45deg height taper && ~30deg width taper)